## Slide 1: Tech Troubles Unlocked: Escape Room Challenge for Sim Facilitators
Presenters
Dr. Christina Keller, DNP, RN, CNE, CMSRN, CHSE
Rickey Ballard, BS, CHSOS
Daxton Sutherland, BS

## Slide 2: Learning outcomes
By the end of this session, learners will be able to:
Identify common points of technical failure when facilitating high-fidelity simulation.
Troubleshoot and resolve basic technical issues when facilitating high-fidelity simulation.
Report increased confidence in identifying and troubleshooting technical issues when facilitating high-fidelity simulation.

## Slide 3: Problem
Business model and organizational structure does not include 1 simulation technology specialist : 1 faculty educator
Lack of resources is the catalyst for innovation and creativity
Educators must learn to troubleshoot at a basic level
  Must define ‘basic’ level

## Slide 4
Morning Start Up

## Slide 5
S.I.M. Ready
Notes: S.I.M. is more than an acronym—it’s a sequence

## Slide 6
Simulator
Instructor Computer
Monitor
Notes: It represents the order of operations we follow to ensure all systems are communicating properly and simulations run without a hitch.
1. Simulator - The simulator is the heart of the system. Powering it on first gives it time to boot and be discoverable by the instructor computer.
2. Instructor Computer - Once the manikin is ready, the instructor computer can connect and take control. This is where we load scenarios, adjust vitals, and monitor performance.
3. Monitor - The monitor is the final piece. It reflects what learners see—vital signs, waveforms, and changes in condition. It’s the “face” of the patient.

## Slide 7: Why Sequence Matters
Prevents system communication errors
Ensures proper IP/Network handshakes
Reduces troubleshooting time
Builds muscle memory for staff
Notes: Just like in clinical practice, sequence matters. Turning devices on in the wrong order can lead to delays, errors, or even failed simulations.

## Slide 8: Key Takeaways
S.I.M. = Simulator → Instructor Computer → Monitor
Sequence ensures system harmony
Easy to teach, easy to remember

## Slide 9: Troubleshooting
The process, mindset, and methods

## Slide 10: The basic process of troubleshooting
What could be causing that behavior?
Do the scene and simulator look safe?
Is it powered on and/or plugged in?
Is it connected to the network and other needed devices?
What is the unwanted behavior?

## Slide 11: Important parts of manikins
*Motherboard
*Valve Board
Air Supply
Power Supply
Chest Rise Bladders
Urine Reservoir
Fluid/Air Tubing and Valves
IV Arms
Limb Joints
Seizure Motors
These parts...
Failure to start, play sounds, respond to software
Fluid problems or air problems
Breathing, fluid, and airway complication issues
Failure to start, seizure, or pulse problems
No chest rise
Urine issues, leaks
Head fluid issues, urine issue, leaks
Occluded IV lines, leaky arms, moldy arms
Stiff, loose, or disconnected limbs
Weak or no seizures
Can cause these problems:

## Slide 12: Using behavior to determine the problem source
It's not powering on
Not shown in control software
Fluids aren't working
It's not breathing
Power, battery, internals
Network, connections, power
Fluid source, pumps, valves.
Air source, air bladders.

## Slide 13: Tying it all together and training our educators
...With simulation, of course!

## Slide 14
Notes: Introduce audience to our hands on portion.
Network Cable
Urine
Lung
Power
Free Form

## Slide 15: Thank you for joining us!
Rick Ballard
rballard1@radford.edu
540-767-6159
Daxton Sutherland
dasutherland@radford.edu
540-831-7175 (Front Desk)